BCIT IOT

Telus NB-IOT Documentation

BCIT ARLO & Telus

Connor Vinchoff Nathan Chung Natalie Doan Kevin Shi Matthew Marty Muhammad Bilal Zubair Cody Chand

# User Manual

Dashboard

- Gives an overall summary of all devices activity-level

- You can access any device’s detail page on this page by clicking on it

- Date/Time Picker

  - Allows user to either manually input the start date/time and end date/time or select the values from a calendar and clock

- Average Interval Update

  - Lists all devices

  - Drop-down to highlight devices depending on average update time

- Device Activity Report

  - Lists all devices

  - Reports how active devices are within a given time-frame

- Daily Update Numbers

  - chart of the number of updates from all devices by day

Devices

- Page listing all devices, including individual device details

- Date/Time Picker that allows user to either manually input the start date/time and end date/time or select the values from a calendar and clock

- Filter/Aggregate Function Checkbox that allows charts to load faster

- Show Parameters Buttons that allow user to select specific parameters to be displayed on the charts across all devices

- Charts include:

  - Device name

  - Parameters

  - Zoom options

  - Report downloads

- Clicking on a specific device will bring you the device detail page in which all parameters are represented on their own individual graphs

Locations

- Floor plans that indicate the location of the devices

- Clicking on the device (red label) will take you to the device’s detail page

Parameters

- Date/Time Picker that allows user to either manually input the start date/time and end date/time or select the values from a calendar and clock

- Filter/Aggregate Function Checkbox that allows charts to load faster

- Individual chart to display one parameter at a time

- Device Toggle to show different devices on chart

- Parameter tabs to choose which parameter to display